## ROIs
Big Brick Company
Lighting Scenarios
B50 Life Rating of Lamps 20,000 Hours | Existing Lighting System | Annual Energy Savings | None
Lamp Costs | 12618.7064 | Investment Dollars | 12618.7064
Additional Lamp Cost Over 99,000 Hrs. | 50474.8256 | ROI in Years
Annual Energy Cost | 89300.8766
Energy Costs Over 99,000 Hrs. | 1009222.236
Total Cost of Ownership Over 99,000 Hrs. | 1072315.768
B50 Life Rating of Lamps 36,000 Hours | Ceramic Metal Halide | Annual Energy Savings | 16183.3466
Lamp Costs | 17885.38 | Investment Dollars | 17885.38
Additional Lamp Cost Over 99,000 Hrs. | 35770.76 | ROI in Years | 1.1052
Annual Energy Cost | 73117.53 | Savings Over 99,000 Hrs. | 192331.378
Energy Costs Over 99,000 Hrs. | 826328.25
Total Cost of Ownership Over 99,000 Hrs. | 879984.39
B50 Life Rating of Lamps 70,000 Hours | 6-lamp T8 Highbay | Annual Energy Savings | 45235.3786
Fixture Costs | 37170.501 | Investment Dollars | 37170.501
Additional Lamp Cost Over 99,000 Hrs. | 7806 | ROI in Years | 0.82171
Annual Energy Cost | 44065.4981 | Savings Over 99,000 Hrs. | 529338.775
Energy Costs Over 99,000 Hrs. | 498000.492
Total Cost of Ownership Over 99,000 Hrs. | 542976.993
B50 Life Rating of Lamps 40,000 Hours | 4-lamp T5HO Highbay | Annual Energy Savings | 47185.1794 | Selected Solution
Fixture Costs | 20667.271 | Investment Dollars | 20667.271
Additional Lamp Cost Over 99,000 Hrs. | 29821 | ROI in Years | 0.438
Annual Energy Cost | 42115.6973 | Savings Over 99,000 Hrs. | 545862.425
Energy Costs Over 99,000 Hrs. | 475965.072
Total Cost of Ownership Over 99,000 Hrs. | 526453.343
L70 Life Rating of 99,000 Hours | LED Highbay | Annual Energy Savings | 56154.263
Fixture Costs | 124818.197 | Investment Dollars | 124818.197
Additional Lamp Cost Over 99,000 Hrs. | N/A | ROI in Years | 2.2228
Annual Energy Cost | 33146.6136 | Savings Over 99,000 Hrs. | 572895.431
Energy Costs Over 99,000 Hrs. | 374602.14
Total Cost of Ownership Over 99,000 Hrs. | 499420.337
NOTE: B50 designation indicates life of lamps when an average of 50% fail
L70 indicates life of LEDs when 70% fail. In this comparison no recycling or labor costs for re-lamping
were included. The CMH and the T5 HO's required 2 re-lampings, and the T8's one additional re-lamping.
***NOTE*** No recycling costs or labor costs for re-lamping the HID & Fluorescents were factored into the Total Cost of Ownership Figures. The Philips Allstart scenario would require re-lamping all of the fixtures two additional times once the retrofit lamps fail. The T8 fluorescent solution would require one additional re-lamp (1,590 lamps) after the retrofit lamps fail. The T5HO fluorescent solution will need to be re-lamped two additional times (2,920 lamps) after the retrofit lamps fail.

## Annual Energy Comps
Big Brick Company
| Annual Energy Cost Comparisons |  | Annual Burn Hours | 8760
|  |  | kWh Rate | 0.062
Existing 400W Metahalide System
Qty. | Fixture Type | System Watts | Annual kWhs | Annual Energy Cost | Energy Cost Over 99,000 Hours | Annual Energy Savings | Energy Savings Over 99,000 Hours
359 | 400W Metalhalide Highbay | 458 | 1440336.72 | 89300.8766 | 1009222.236 | NONE | NONE
Philips AllStart 330W
Qty. | Fixture Type | System Watts | Annual kWhs | Annual Energy Cost | Energy Cost Over 99,000 Hours | Annual Energy Savings | Energy Savings Over 99,000 Hours
359 | Philips AllStart 330W Shatterproof Solution | 375 | 1179315 | 73117.53 | 826328.25 | 16183.3466 | 182893.986
6-Lamp T8 Solution
Qty. | Fixture Type | System Watts | Annual kWhs | Annual Energy Cost | Energy Cost Over 99,000 Hours | Annual Energy Savings | Energy Savings Over 99,000 Hours
359 | 6-lamp T8 Highbay | 226 | 710733.84 | 44065.4981 | 498000.492 | 45235.3786 | 511221.744
4-Lamp T5HO Solution
Qty. | Fixture Type | System Watts | Annual kWhs | Annual Energy Cost | Energy Cost Over 99,000 Hours | Annual Energy Savings | Energy Savings Over 99,000 Hours
359 | 4L T5HO | 216 | 679285.44 | 42115.6973 | 475965.072 | 47185.1794 | 533257.164
ILP 150W LED
Qty. | Fixture Type | System Watts | Annual kWhs | Annual Energy Cost | Energy Cost Over 99,000 Hours | Annual Energy Savings | Energy Savings Over 99,000 Hours
359 | ILP 150W LED | 170 | 534622.8 | 33146.6136 | 374602.14 | 56154.263 | 634620.096

## Existing Lighting
Big Brick Company
Existing 400W Metahalide System
Qty. | Fixture Type | System Watts | Annual Burn Hrs | Annual kWhs | kWh Rate | Annual Energy Cost | Rated Lamp Life B50 | Energy Cost Over 99,000 Hours |  | Fixture Sell | Total Sell
359 | 400W Metalhalide Highbay | 458 | 8760 | 1440336.72 | 0.062 | 89300.8766 | 20000 | 1009222.236 | Lamp Sell Price | 33.16 | 11904.44
[10 empty] | tax | 714.2664
[10 empty] | Total | 12618.7064

## Philips AllStart
Big Brick Company
Philips AllStart 330W
Qty. | Fixture Type | System Watts | Annual Burn Hrs | Annual kWhs | kWh Rate | Annual Energy Cost | Rated Lamp Life B50 | Energy Cost Over 99,000 Hours |  | Fixture Sell | Total Sell
359 | Philips AllStart 330W | 375 | 8760 | 1179315 | 0.062 | 73117.53 | 20000 | 826328.25 | Lamp Sell Price | 47 | 16873
[10 empty] | tax | 1012.38
[10 empty] | Total | 17885.38

## 6L T8 Solutions
Big Brick Company
6-Lamp T8 Solution
Qty. | Fixture Type | System Watts | Annual Burn Hrs | Annual kWhs | kWh Rate | Annual Energy Cost | Rated Lamp Life B50 | Energy Cost Over 99,000 Hours |  |  | Fixture Sell | Total Sell
359 | 6-lamp T8 Highbay | 226 | 8760 | 710733.84 | 0.062 | 44065.4981 | 70000 | 498000.492 |  | Fixture w/ lamps | 158 | 56722
Accessories
[9 empty] | Sensor | 359 | 45.25 | 16244.75
[9 empty] | Cord & Plug | 359 | 9.75 | 3500.25
[9 empty] | Y- Toggle Mount | 359 | 10.15 | 3643.85
[9 empty] | Wire Guard | 359 | 0 | 0
80110.85
[11 empty] | tax | 4806.651
[11 empty] | Total | 84917.501
[11 empty] | Rebates | 47747
[11 empty] | Total After Rebates | 37170.501

## 4L T5HO Solutions
Big Brick Company
4-Lamp T5HO Solution / Shatterproof Lamps
Qty. | Fixture Type | System Watts | Annual Burn Hrs | Annual kWhs | kWh Rate | Annual Energy Cost | Rated Lamp Life B50 | Energy Cost Over 99,000 Hours |  |  | Fixture Sell | Total Sell
359 | 4L T5HO | 216 | 8760 | 679285.44 | 0.062 | 42115.6973 | 40000 | 475965.072 |  | Fixture w/ lamps | 117 | 42003
Accessories
[9 empty] | Sensor | 0 | 45.25 | 0
[9 empty] | 15ft Cord & Plug | 359 | 21.5 | 7718.5
[9 empty] | Y- Toggle Mount | 359 | 10.15 | 3643.85
[9 empty] | Wire Guard | 0 | 0 | 0
53365.35
[11 empty] | tax | 3201.921
[11 empty] | Total | 56567.271
[11 empty] | Rebates | 35900
[11 empty] | Total After Rebates | 20667.271
45.25

## ILP LED
Big Brick Company
ILP 150W LED
Qty. | Fixture Type | System Watts | Annual Burn Hrs | Annual kWhs | kWh Rate | Annual Energy Cost | Rated LED Life L70 | Energy Cost Over 99,000 Hours |  |  | Fixture Sell | Total Sell
359 | ILP 150W LED | 170 | 8760 | 534622.8 | 0.062 | 33146.6136 | 99000 | 374602.14 |  | Fixture | 420 | 150780
Accessories
[9 empty] | Sensor, Cord & Plug | 359 | 55.4 | 19888.6
[9 empty] | Y- Toggle Mount | 359 | 10.15 | 3643.85
174312.45
[11 empty] | Tax | 10458.747
[11 empty] | Total | 184771.197
[11 empty] | Rebates | 59953
[11 empty] | Total After Rebates | 124818.197